Pop-Up Major Lessons Learned   
from Gen 3.2

* **LENGTHENED DBV TECH CABLE**
* **REPLACED STEEL BALLAST RELEASE MOUNT WITH PURPLEHEART WOOD**
* **REPLACED TAPERED THREAD SST WITH SAE-ORB THERMISTOR HOUSING, MUCH MORE RELIABLE VACUUM!**