## Sensors and Comms
Assembly Variant | Item Description | Purpose | Vendor | Product Number | Link | Cost | Qty Per Pack | Qty Per Float | Cost Per Float | Comments
All | TAG-PARQ Sensor | PAR Sensor | Skye Instruments | TAG-PARQ | katie@skyeinstruments.com, adam@skyeinstruments.com | 270 | 1 | 1 | 364.5 | Exchange Rate 1GBP= __ USD --->>> | 1.35
All | 10 bar Pressure Sensor | Pressure Sensor | Keller | PA4LD/81974.30/10Bar | http://www.keller-druck.com/home_e/paprod_e/4ld_e.asp | 117.75 | 1 | 1 | 117.75
All | Topside Temperature Probe | Temperature Probe | US Sensor | USP19572 REV A | http://www.ussensor.com/h2081-npt-stainless-steel | 67 | 1 | 1 | 67
All | SST Temperature Probe | Temperature Probe | US Sensor | USP19504 REV NONE | http://www.littelfuse.com/products/temperature-sensors/thermistor-probes-and-assemblies/threaded-housings/h6268.aspx | 67 | 1 | 1 | 67
All | u-CAM-III | Camera | Digikey | UCAM-III | https://www.digikey.com/product-detail/en/4d-systems-pty-ltd/UCAM-III/1613-1369-ND/6623663 | 49.98 | 1 | 1 | 49.98
All | u-CAM-III 116° Lens | Camera Lens | Digikey | UCAM-III-116LENS | https://www.digikey.com/product-detail/en/4d-systems-pty-ltd/UCAM-III-116LENS/1613-1079-ND/5725467 | 10.19 | 1 | 1 | 10.19
All | Tilt Sensor | Tilt Sensor | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Tilt sensor (accelerometer) is integrated in main PCB
All | RockBLOCK Mk3 | Iridium Module | RockSeven | RockBLOCK 9603 | https://www.rock7.com/shop-product-detail?productId=51 | 249 | 1 | 1 | 249 | Also Available Directly from Manufacturer - https://www.rock7mobile.com/shop
All | RockBLOCK Mk3 Iridium Whitelisting | Whitelist Iridium for DITCO Network | NAL Research Corporation | RockBLOCK 9603 | Angela Roush <ARoush@nalresearch.com> | 35 | 1 | 1 | 35
All | RockBLOCK Mk3 Iridium Unlock Fee | Unlock Iridium for DITCO Network | RockSeven | RockBLOCK 9603 | info@rock7.com | 60 | 1 | 1 | 60
All | Maxtena Helical Antenna | Iridium Antenna | Newark | M1621HCT-EXT | http://www.newark.com/maxtena/m1621hct-ext/antenna-iridium-1-616-1-626ghz/dp/52Y3292?CMP=AFC-OP | 53.74 | 1 | 1 | 53.74 | Also Available from Rock Seven- https://www.rock7mobile.com/shop
All | Ladybird 1 GPS - MT3339 ChipSet | GPS Module | Alphamicro | AMC-PA6H | http://www.alphamicrowireless.com/franchises/globaltop-technology/pa6h.aspx | 22.5 | 1 | 1 | 22.5 | Contact - sue.sampson@alphamicro.net. Also available at https://www.adafruit.com/products/790
All | GPS Active External Antenna | GPS Antenna | Adafruit | N/A | https://www.adafruit.com/products/960 | 12.95 | 1 | 1 | 12.95
[9 empty] | 1109.61 | TOTAL
With Fluorometer | Turner Cyclops 7 Fluorometer (No Housing) | Fluorometer | Turner Designs | 2110-000-C-NH | http://www.turnerdesigns.com/products/submersible-fluorometer/cyclops-7f-submersible-fluorescence-and-turbidity-sensors?page=shop.product_details&flypage=flypage_default.tpl&product_id=3&category_id=1 | 1460 | 1 | 1 | 1460
[9 empty] | 1460 | TOTAL

## Battery
Assembly Variant | Item Description | Purpose | Vendor | Product Number | Link | Cost | Qty Per Pack | Qty Per Float | Cost Per Float | Comments
All | 9V, 42Ah, 18 D-Cell Alkaline Battery | Primary Battery | Apak Batteries |  |  | 92.54 | 1 | 1 | 92.54
All | 2.5" Schedule 40 PVC Pipe | Stacking Primary Battery | McMaster (or Home Depot) | 48925K99 | https://www.mcmaster.com/#8749k23/=1cwdly9 | 15.62 | 1 | 0.1 | 1.562 | ~5 inches needed per battery pack
All | Gap-Sealing Spray Foam Insulation Can | Spray Foam for Battery | McMaster | 8551K11 | https://www.mcmaster.com/#8551k11/=169p3e9 | 8.66 | 1 | 0.5 | 4.33 | Each Can is enough for 2-3 Floats
All | Thick-Wall PVC Pipe Fitting for Water, Flanged 1-1/4 Pipe Size Socket-Connect Adapter | Battery Mount for Bottom of Float | McMaster | 4881K215 | https://www.mcmaster.com/#4881k215/=1czvwsl | 8.03 | 1 | 1 | 8.03
[9 empty] | 106.462 | TOTAL

## Electronics Assembly
Assembly Variant | Item Description | Purpose | Vendor | Product Number | Link | Cost | Qty Per Pack | Qty Per Float | Cost Per Float | Comments
All | Circuit Board (Blank PCB) | Main Circuit Board | PCB Fab Express | Pop Up 5.1 | https://ecommerce.pcbfabexpress.com/ | 247.65 | 15 | 1 | 16.51 | Exact Price depends on Qty and Turn Time
All | Pressure Sensor Circuit Board | Pressure Sensor Circuit Board | PCB Fab Express | Pop Up 5.1 | https://ecommerce.pcbfabexpress.com/ | 50 | 15 | 1 | 3.3333 | Exact Price depends on Qty and Turn Time
All | Circuit Board Components (Approximate) | Main Circuit Board | See PCB BOM | See PCB BOM |  | 180 | 1 | 1 | 180 | Exact Price depends on Qty and Revision
All | Circuit Board Assembly | Main Circuit Board | Schippers and Crew | Pop Up 5.1 | http://schippersandcrew.com/ | 155 | 1 | 1 | 155 | Exact Price depends on Qty and Revision
All | Loctite Quick Set Epoxy | Epoxy for Mounting PAR Sensor | Amazon | 1395391 | https://www.amazon.com/Loctite-Epoxy-0-85-Fluid-Syringe-1395391/dp/B000PSAKAW | 6.65 | 1 | 0.2 | 1.33 | One enough for at least at least 5 PAR Sensors
All | 18-8 Stainless Narrow Fillister Screws (#6-32x5/16") | Screws for Mounting Pressure Sensor PCB | McMaster | 91737A106 | https://www.mcmaster.com/#91737a106/=1cxx20s | 5.34 | 100 | 3 | 0.1602
All | 18-8 Stainless Internal Tooth Lock Washers (#6) | Screws for Mounting Pressure Sensor PCB | McMaster | 91757A103 | https://www.mcmaster.com/#91757a103/=1al1zqk | 2.74 | 100 | 0 | 0 | 3 Added to Same Item Under 'Standoffs for Main Circuit Board'
All | 18-8 Stainless Screws (M2x12mm) | Screws for Mounting Camera | McMaster | 92000A019 | https://www.mcmaster.com/#92000a019/=1cxvmim | 6.16 | 100 | 4 | 0.2464
All | 18-8 Stainless Lock Washers (M2) | Screws for Mounting Camera | McMaster | 93925A210 | https://www.mcmaster.com/#93925a210/=1cxvmzr | 3.12 | 100 | 4 | 0.1248
All | 18-8 Stainless Hex Standoff (M2.5x6mm) | Standoff for RockBLOCK 9603 | McMaster | 94868A161 | https://www.mcmaster.com/#94868a161/=1cxvf50 | 0.96 | 1 | 2 | 1.92
All | 18-8 Stainless Screws (M2.5x6mm) | Standoff for RockBLOCK 9603 | McMaster | 92000A104 | https://www.mcmaster.com/#92000a104/=1cxviey | 3.54 | 100 | 2 | 0.0708
All | 18-8 Stainless Screws (M2.5x4mm) | Standoff for RockBLOCK 9603 | McMaster | 92000A102 | https://www.mcmaster.com/#92000a102/=1cxvjaz | 3.46 | 100 | 2 | 0.0692
All | 18-8 Stainless Internal Tooth Lock Washers (M2.5) | Standoff for RockBLOCK 9603 | McMaster | 93925A220 | https://www.mcmaster.com/#93925a220/=1cxvg8w | 3.46 | 100 | 4 | 0.1384
All | 18-8 Stainless Hex Standoff (#6-32x1") | Standoffs for Main Circuit Board | McMaster | 91115A133 | https://www.mcmaster.com/#91115a133/=1al1wex | 2.36 | 1 | 4 | 9.44
All | 18-8 Stainless Narrow Fillister Screws (#6-32x1/2") | Standoffs for Main Circuit Board | McMaster | 91737A109 | https://www.mcmaster.com/#91737a109/=1al20rw | 5.92 | 100 | 8 | 0.4736
All | 18-8 Stainless Internal Tooth Lock Washers (#6) | Standoffs for Main Circuit Board | McMaster | 91757A103 | https://www.mcmaster.com/#91757a103/=1al1zqk | 2.74 | 100 | 11 | 0.3014 | 3 Extra Added for Pressure Sensor PCB Mounting, 8 needed for Main Circuit board
All | Nylon Unthreaded Spacer, 5/8" Long for 1/4" Screw Size | Standoffs for Electronics Stack | McMaster | 94639A572 | https://www.mcmaster.com/#94639a572/=1cxwqb6 | 10.19 | 100 | 10 | 1.019
All | 18-8 Stainless Hex Head Screw,1/4"-20, 1-3/8" Long | Standoffs for Electronics Stack | McMaster | 92240A237 | https://www.mcmaster.com/#92240a237/=1cxvsja | 10.38 | 50 | 4 | 0.8304
All | 18-8 Stainless Hex Head Screw,1/4"-20, 1-3/4" Long | Standoff for GPS Mount | McMaster | 92240A548 | https://www.mcmaster.com/#92240a548/=1cxx5zt | 4.88 | 25 | 1 | 0.1952
All | Rubber Bumper with Unthreaded Hole,1.5" High, 1/4" Hole Diameter | Standoff for GPS Mount | McMaster | 9540K2 | https://www.mcmaster.com/#9540k2/=1co3wcr | 2.42 | 1 | 1 | 2.42
All | 18-8 Stainless Split Lock Washer, 1/4" Screw Size | Standoffs for Electronics Stack and GPS Mount | McMaster | 92146A029 | https://www.mcmaster.com/#92146a029/=1cxwqxm | 3.68 | 100 | 5 | 0.184 | 4 for electronics stack, 1 for gps mount
All | 18-8 Stainless Washer, 1/4" Screw Size | Standoffs for Electronics Stack and GPS Mount | McMaster | 92141A029 | https://www.mcmaster.com/#92141a029/=1cxwrox | 3.37 | 100 | 5 | 0.1685 | 4 for electronics stack, 1 for gps mount
All | 18-8 Stainless Hex Nut, 1/4"-20 Thread Size | Standoffs for Electronics Stack and GPS Mount | McMaster | 91845A029 | https://www.mcmaster.com/#91845A029 | 4.31 | 100 | 1 | 0.0431 | 1 for gps mount
[9 empty] | 373.9783 | TOTAL

## Mechanical Assembly
Assembly Variant | Material Description | Purpose | Vendor | Product Number | Link | Cost | Qty Per Pack | Qty Per Float | Cost Per Float | Comments
All | 2-256 Buna O-Ring | O-Ring - End Cap Face Seal | McMaster | 9452K357 | https://www.mcmaster.com/#9452K357 | 9.34 | 10 | 1 | 0.934
All | 2-163 Buna O-Ring | O-Ring - End Cap Piston Seal | McMaster | 9452K322 | https://www.mcmaster.com/#9452K322 | 10.14 | 25 | 1 | 0.4056
All | 2-123 Buna O-Ring | O-Rings - PAR Sensor | McMaster | 9452K87 | https://www.mcmaster.com/#9452K87 | 7.05 | 100 | 2 | 0.141
All | 2-118 Buna O-Ring | O-Rings - Vacuum and Pressure Ports | McMaster | 9452K82 | https://www.mcmaster.com/mv1486502887/#9452k82/=16a99ei | 5.61 | 100 | 2 | 0.1122
All | 2-126 Buna O-Ring | O-Ring - Fluorometer Face Seal | McMaster | 9452K91 | https://www.mcmaster.com/#9452k91/=1cxyt18 | 8.03 | 100 | 1 | 0.0803
All | 2-120 Buna O-Ring | O-Ring - Fluorometer Piston Seal | McMaster | 9452K84 | https://www.mcmaster.com/#9452K84 | 6.13 | 100 | 1 | 0.0613
All | 2-137 Buna O-Ring | O-Ring - Camera Face Seal | McMaster | 9452K143 | https://www.mcmaster.com/#9452K143 | 11.31 | 100 | 1 | 0.1131
All | 2-131 Buna O-Ring | O-Ring - Camera Piston Seal | McMaster | 9452K136 | https://www.mcmaster.com/#9452k136/=1cxytoc | 10.32 | 100 | 1 | 0.1032
All | Air and Water Quick-Disconnect Tube Coupling,Socket with Shut-Off Valve, 3/32 Coupling, 1/8 NPT Male | Vacuum Port | McMaster | 51605K29 | https://www.mcmaster.com/#51605k29/=169p8jh | 11.01 | 1 | 1 | 11.01
All | Abrasion-Resistant Polyurethane Rubber Round Tube, 1" Long, 1" OD | Frame Hardware - Spacers for Trawl Float Ears | McMaster | 9697K121 | https://www.mcmaster.com/#9697k121/=169r6zd | 4.4 | 1 | 3 | 13.2
All | Zinc Anode | Anode Protection and Ballast Weight for Frame | The Zinc Guy | TA-3 | http://www.thezincguy.com/ta-3-bolt-on-plate-zinc-anode-trim-tab | 19.99 | 1 | 2 | 39.98
All | 12" Trawl Float | Main Pressure Housing | Seattle Marine | YUN10M-8 | http://www.b2b.seamar.com/WVVAI/wvo?qid=InventoryInq2x&ItemNo=YUN10M-8 | 33 | 1 | 1 | 33
All | 45" Prusik Loop | Attachment to Anchor | Amazon |  | https://www.amazon.com/dp/B01DQIR6PY/ref=twister_B07BVVDX7V?_encoding=UTF8&psc=1 | 15.99 | 1 | 1 | 15.99
[9 empty] | 115.1307 | TOTAL
Sub Sea Sonics Burn Wire Release | Super-Corrosion-Resistant 316 Stainless Steel Hex Head Screw, 1/4"-20 Thread Size, 2" Long, Partially Threaded | Frame Hardware - 2" Hex Cap Screws | McMaster | 92186A550 | https://www.mcmaster.com/#92186a550/=169qwo2 | 3.82 | 10 | 4 | 1.528
Sub Sea Sonics Burn Wire Release | Super-Corrosion-Resistant 316 Stainless Steel Hex Head Screw, 1/4"-20 Thread Size, 1-3/4" Long, Partially Threaded | Frame Hardware - 1-3/4" Hex Cap Screws | McMaster | 92186A548 | https://www.mcmaster.com/#92186a548/=169p45y | 3.7 | 10 | 10 | 3.7
Sub Sea Sonics Burn Wire Release | 316 Stainless Steel Split Lock Washer, for 1/4" Screw Size, 0.26" ID, 0.487" OD | Frame Hardware - Lock Washers | McMaster | 92147A029 | https://www.mcmaster.com/mv1486502887/#92147a029/=169p7p9 | 4.57 | 100 | 14 | 0.6398
Sub Sea Sonics Burn Wire Release | Super-Corrosion-Resistant 316 Stainless Steel Hex Nut, 1/4"-20 Thread Size | Frame Hardware - Hex Nuts | McMaster | 94804A029 | https://www.mcmaster.com/#94804a029/=169p5wk | 7.21 | 100 | 14 | 1.0094
Sub Sea Sonics Burn Wire Release | 316 Stainless Steel Washer for 1/4" Screw Size, 0.281" ID, 0.625" OD | Frame Hardware - Washers | McMaster | 90107A029 | https://www.mcmaster.com/#90107a029/=169r0ig | 7.45 | 100 | 22 | 1.639 | Extra Washers needed to fill small gap on burn wire release mounts (Included in qty)
Sub Sea Sonics Burn Wire Release | 316 Stainless Steel Cotter Pin, 3/32" Diameter, 1" Long | Frame Hardware - Release Hinge Cotter Pin | McMaster | 98401A417 | https://www.mcmaster.com/#98355a080/=1cycndb | 10.93 | 50 | 1 | 0.2186
Sub Sea Sonics Burn Wire Release | Electrical-Insulating Nylon 6/6 Sleeve Washer for 1/4" Screw Size, 0.188" Overall Height | Frame Hardware - Isolators, Single sheet thickness | McMaster | 91145A162 | https://www.mcmaster.com/mv1486502887/#91145a162/=169pa16 | 6.42 | 100 | 6 | 0.3852
Sub Sea Sonics Burn Wire Release | Electrical-Insulating Nylon 6/6 Sleeve Washer for 1/4" Screw Size, 0.313" Overall Height | Frame Hardware - Isolators, Double sheet thickness | McMaster | 91145A165 | https://www.mcmaster.com/#91145a165/=169qy87 | 5.93 | 100 | 4 | 0.2372
Sub Sea Sonics Burn Wire Release | 316 Stainless Steel Clevis Pin, 1/4" Diameter, 1-1/2" Length, 1-5/16" Usable Length | Frame Hardware - Release Hinge | McMaster | 92390A163 | https://www.mcmaster.com/#92401a637/=1cycmms | 12.07 | 5 | 1 | 2.414
Sub Sea Sonics Burn Wire Release | Vibration-Damping Clamp with TPR Cushion, 304 Stainless Steel, 1-1/16" ID | Frame Hardware - Burn Wire Mounting Clamps | McMaster | 11355T82 | https://www.mcmaster.com/#11355t82/=169r2wn | 5.25 | 1 | 2 | 10.5
Sub Sea Sonics Burn Wire Release | Harsh-Environment Cable Tie, Long Lasting, Ultra-UV-Resistant Nylon, 8" Long | Frame Hardware - Release Clip | McMaster | 70215K96 | https://www.mcmaster.com/#70215k96/=169r5bi | 7.38 | 10 | 1 | 0.738
Sub Sea Sonics Burn Wire Release | Type 302 Stainless Steel Extension Spring, 2.0" Length, .375" OD, .048" Wire Diameter | Frame Hardware - Release Spring | McMaster | 94135K14 | https://www.mcmaster.com/mv1486502887/#94135k14/=169r98q | 4.84 | 3 | 1 | 1.6133
Sub Sea Sonics Burn Wire Release | Stainless Steel Extension Spring Anchor Stud, Standard, 1/4"-20 Thread, 1-1/4" Overall Length | Frame Hardware - Release Spring Anchors | McMaster | 95907A480 | https://www.mcmaster.com/mv1486502887/#95907a480/=169r8mi | 6.42 | 1 | 2 | 12.84
Sub Sea Sonics Burn Wire Release | Closed Eye Routing Eyebolt - Not for Lifting, 316 Stainless Steel with Nut, 10-24 Thread Size, 2" Shank Length | Frame Hardware - Release Eye Bolt | McMaster | 9494T31 | https://www.mcmaster.com/#9494t31/=169ra1q | 6.21 | 1 | 1 | 6.21
[9 empty] | 43.6725 | TOTAL
DBV Tech Burn Wire Release | 304 Stainless Steel Bolt-Together Framing - 1 ft length | Frame Hardware - Main Frame | McMaster | 3414T11 | https://www.mcmaster.com/#3414t11/=1comtna | 5.12 | 1 | 4 | 20.48
DBV Tech Burn Wire Release | 304 Stainless Steel Bolt-Together Framing - 3 ft length | Frame Hardware - Main Frame | McMaster | 3414T11 | https://www.mcmaster.com/#3414t11/=1comtna | 13.91 | 1 | 1 | 13.91
DBV Tech Burn Wire Release | Rubber Bumper with Unthreaded Hole | Frame Hardware - Main Frame | McMaster | 9306K44 | https://www.mcmaster.com/#9306k44/=1comupw | 7.94 | 1 | 2 | 15.88
All | Abrasion-Resistant Polyurethane Rubber Round Tube, 1" Long, 1" OD | Frame Hardware - Spacer for anchor/release line | McMaster | 9697K121 | https://www.mcmaster.com/#9697k121/=169r6zd | 4.4 | 1 | 0 | 0 | 1 added to qty in part for trawl float ears above
DBV Tech Burn Wire Release | 18-8 Stainless Hex Head Screw,5/16"-18, 1-3/4" Long, Partially Threaded | Frame Hardware - Main Frame | McMaster | 92198A689 | https://www.mcmaster.com/#92198a689/=1d7375v | 7.07 | 25 | 3 | 0.8484
DBV Tech Burn Wire Release | 18-8 Stainless Hex Head Screw,5/16"-18, 2" Long, Partially Threaded | Frame Hardware - Attaching Anodes | McMaster | 92198A691 | https://www.mcmaster.com/#92198a691/=1d737np | 7.8 | 25 | 2 | 0.624
DBV Tech Burn Wire Release | 18-8 Stainless Split Lock Washer, 5/16" Screw Size | Frame Hardware - Main Frame | McMaster | 92146A030 | https://www.mcmaster.com/#92146a030/=1d7384y | 5.51 | 100 | 6 | 0.3306
DBV Tech Burn Wire Release | 18-8 Stainless Washer, 5/16" Screw Size | Frame Hardware - Main Frame | McMaster | 92141A030 | https://www.mcmaster.com/#92141a030/=1d738ka | 5.1 | 100 | 12 | 0.612
DBV Tech Burn Wire Release | 18-8 Stainless Hex Nuts, 5/16" Screw Size | Frame Hardware - Main Frame | McMaster | 91845A030 | https://www.mcmaster.com/#91845A030 | 5.77 | 100 | 6 | 0.3462
DBV Tech Burn Wire Release | 18-8 Stainless Steel Oversized Washer, for 5/16" Screw Size, 0.344" ID, 1.25" OD | Frame Hardware - Main Frame | McMaster | 90313A111 | https://www.mcmaster.com/#90313a111/=1ddt9bo | 6.57 | 25 | 4 | 1.0512
[9 empty] | 54.0824 | TOTAL

## Machine Shop Parts
Assembly Variant | Filename of Part | Qty Per Float | Purpose | Material Description | Vendor for Material | Link | Approx Material Cost | Approx Machining Hours | Approx Machining Cost | Comments | Machining Hourly Cost
All | {FOCI}{PopUp}{End Cap}{2} | 1 | End Cap Material | Black Delrin® Acetal Resin | McMaster | https://www.mcmaster.com/#8575k633/=169p0ux | 60 | 1.8333 | 137.5 | One 24"x24" sheet can make 9 end caps, delrin sheets also have no problems with centerline porosity like rounds sometimes do | 75
All | {FOCI}{PopUp}{TAGPARQ Acryllic Housing}{1} | 1 | Housing for PAR Sensor | Cast Clear Acryllic | McMaster |  | 2 | 0.7 | 52.5 | -
All | {FOCI}{PopUp}{Camera Housing}{1} | 1 | Housing for Camera | Cast Clear Acryllic | McMaster |  | 4 | 1 | 75 | -
All | {FOCI}{PopUp}{Pressure Sensor Mount}{1} | 1 | Housing for Pressure Sensor | Black Delrin® Acetal Resin | McMaster |  | 5 | 0.75 | 56.25 | -
All | {FOCI}{PopUp}{VacuumPortCap}{1} | 1 | Housing to Seal Vacuum Port | Black Delrin® Acetal Resin | McMaster |  | 5 | 0.33333 | 25 | -
All | {FOCI}{PopUp}{PCB Circular Mount}{1} | 1 | Supporting PCB and Antennas | 0.12" Nominal Thickness 304 Stainless | McMaster |  | 10 | 0.66667 | 50 | -
All | {FOCI}{PopUp}{Trawl Float 12 Inch}{2} | 1 | Main Pressure Housing | 12" Trawl Float | Seattle Marine | http://www.b2b.seamar.com/WVVAI/wvo?qid=InventoryInq2x&ItemNo=YUN10M-8 | 33 | 0.91667 | 68.75 | -
[9 empty] | 584 | TOTAL
With Fluorometer | {FOCI}{PopUp}{FluorometerHousing}{1} |  | Fluorometer Housing | Black Delrin® Acetal Resin | McMaster |  | 15 | 2.75 | 206.25
[9 empty] | 221.25 | TOTAL
Sub Sea Sonics Burn Wire Release | {FOCI}{PopUp}{Bottom Bracket Top Spacer}{1} | 1 | Frame Material | Black Delrin® Acetal Resin | McMaster |  | 15 | 0.625 | 46.875 | -
Sub Sea Sonics Burn Wire Release | {FOCI}{PopUp}{Bottom Bracket Bottom Spacer}{1} | 1 | Frame Material | Black Delrin® Acetal Resin | McMaster |  | 15 | 0.625 | 46.875 | -
Sub Sea Sonics Burn Wire Release | {FOCI}{PopUp}{Bottom Bracket Release Bar}{1} | 1 | Frame Material | Black Delrin® Acetal Resin | McMaster |  | 15 | 1.75 | 131.25 | -
Sub Sea Sonics Burn Wire Release | {FOCI}{PopUp}{Link 886 Modified Delrin}{1} | 1 | Frame Material | Black Delrin® Acetal Resin | McMaster |  | 15 | 1 | 75 | -
Sub Sea Sonics Burn Wire Release | {FOCI}{PopUp}{Bottom Bracket T-Bar}{1} | 2 | Frame Material | Black Delrin® Acetal Resin | McMaster |  | 15 | 0.625 | 46.875 | -
Sub Sea Sonics Burn Wire Release | {FOCI}{PopUp}{Bottom Bracket Vertical}{1} | 2 | Frame Material | Highly Corrosion-Resistant 5086 Aluminum, Sheet, .125" Thick | McMaster | https://www.mcmaster.com/#5865t73/=169qvc3 | 30 | 0.3125 | 23.4375 | -
Sub Sea Sonics Burn Wire Release | {FOCI}{PopUp}{Bottom Bracket Vee}{2} | 2 | Frame Material | Highly Corrosion-Resistant 5086 Aluminum, Sheet, .125" Thick | McMaster | https://www.mcmaster.com/#5865t73/=169qvc3 | 30 | 0.5 | 37.5 | -
[9 empty] | 542.8125 | TOTAL

## Release Mechanism
Assembly Variant | Item Description | Purpose | Vendor | Product Number | Link | Cost | Qty Per Pack | Qty Per Float | Cost Per Float | Comments
Sub Sea Sonics Burn Wire Release | Burn Wire - Release unit | Burn Wire | Sub Sea Sonics | TR-45 | http://subseasonics.com/underwater-timed-release-tr-45_prices/ | 165 | 1 | 1 | 165
Sub Sea Sonics Burn Wire Release | Burn Wire - Replaceable Release Link | Burn Wire | Sub Sea Sonics | LK-40 | http://subseasonics.com/underwater-timed-release-tr-45_prices/ | 8 | 1 | 1 | 8
[9 empty] | 173 | TOTAL
Galvanic Timed Release | Galvanic Release Link | Release Link |  | Varies |  | 70 | 1 | 1 | 70
[9 empty] | 70 | TOTAL
DBV Tech Burn Wire Release | DBV Technologies Burn Wire Release | Burn Wire | DBV Technologies |  |  | 750 | 1 | 1 | 750
[9 empty] | 750 | TOTAL

## Vacuum Pump
Item Description | Purpose | Vendor | Product Number | Link | Cost | Qty Per Pack | Qty Per Float | Cost Per Float | Comments
MityVac Silverline Pump | Handheld Vacuum Pump | Amazon | MV8510 | https://www.amazon.com/Mityvac-MV8510-Silverline-Elite-Hand/dp/B004IQM460/ref=sr_1_7?s=automotive&ie=UTF8&qid=1492016899&sr=1-7&keywords=mityvac | 57.12 | 1 | 1 | 57.12 | Alumium/Zinc Version for Durability. Not PVC version
Plastic Quick-Disconnect Tube Coupling for Air and Water (Plug, 3/32 Coupling Size, for 1/8" Barbed Tube ID) | Plug for Vacuum Pump Fitting | McMaster | 51605K12 | https://www.mcmaster.com/#51605K12 | 2.02 | 1 | 1 | 2.02
Abrasion-Resistant Polyurethane Tubing (for Fuels, 1/8" ID, 3/8" OD) | 1/8" Tubing for Vacuum pump | McMaster | 5792K51 | https://www.mcmaster.com/#5792K51 | 3.56 | 1 | 1 | 3.56 | 1/8" for quick-disconnect fitting, 'fuel' tubing for use in moist environments. Will also work for air
Abrasion-Resistant Polyurethane Tubing (for Fuels, 1/4" ID, 7/16" OD) | 1/4" Tubing for Vacuum pump | McMaster | 5792K36 | https://www.mcmaster.com/#5792K36 | 2.97 | 1 | 1 | 2.97 | 1/4" for pump fitting, 'fuel' tubing for use in moist environments. Will also work for air
Moisture-Resistant Acetal Barbed Tube Fitting (Reducing Straight for 1/4" x 1/8" Tube ID) | Reducing Adapter for Vacuum Pump Tubing | McMaster | 5047K25 | https://www.mcmaster.com/#5047K25 | 1.46 | 1 | 1 | 1.46
[8 empty] | 67.13 | TOTAL

## TOTAL COSTS
ITEM | COST PER FLOAT
| Sub-Sea Sonics Burn Wire Release | DBV Technologies Burn Wire Release
Sensors and Modules | 1109.61 | 1109.61
Battery | 106.462 | 106.462
Electronics Assembly | 373.9783 | 373.9783
Mechanical Assembly | 158.8032 | 169.2131
Machine Shop Parts | 1126.8125 | 584
Release Mechanism | 173 | 750
GRAND TOTAL Per Float | 3048.6661 | 3093.2634
Optional Fluorometer | 1666.25 | 1666.25
GRAND TOTAL WITH FLUOROMETER | 4714.9161 | 4759.5134
MISC ITEMS | COST
Handheld Vacuum Pump | 67.13
Burn Wire Programmer (for Sub Sea Sonics Release only) | 595
Fluorometer Calibration Solution | 145