## Slide 1
Fast-Response
Topside Temperature Probe (TTP)
Slow-Response Sea Surface Temperature (SST) probe
Turner Cyclops 7F Fluorometer
UCAM III Low-Resolution Digital Camera
Skye Instruments Photosynthetically-Activated Radiation (PAR) sensor
Endcap
Vacuum Port
Keller Pressure Sensor
Counterbalance
Frame
30.5 cm (12 in) diameter
side-lug t-float
Burn-Wire Release